## Python test sheet
Category | Sub-system | Element | Component | Description | Number | Unit
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Jacket or monopile costs (Development and Project Management) | 100000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Jacket or monopile costs (Procurement) | 400000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Jacket or monopile costs (Installation and Commissioning) | 300000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Corrosion protection costs (Development and Project Management) | 50000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Corrosion protection costs (Procurement) | 90000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Corrosion protection costs (Installation and Commissioning) | 80000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Scour protection costs (Development and Project Management) | 130000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Scour protection costs (Procurement) | 200000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Scour protection costs (Installation and Commissioning) | 180000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Construction duration | 3 | years
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Share of Investments in Year 1 | 40% | % of Capex total
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Share of Investments in Year 2 | 30% | % of Capex total
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Share of Investments in Year 3 | 30% | % of Capex total
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Economic Lifetime | 50 | years
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Depreciation Flag | 1 | flag
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Yearly Variable Costs Flag | 1 | flag
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Yearly Variable Costs Rate | 3% | % of investment value
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Insurance Flag | 1 | flag
Capex | Wind energy source & Transport | Offshore wind park | Foundations | Insurance Rate | 0.5% | % of investment value
Abex | Wind energy source & Transport | Offshore wind park | Foundations | Foundations decommissioning | 2% | % of Capex total
Residual value | Wind energy source & Transport | Offshore wind park | Foundations | Foundations residual value | 1% | % of Capex total
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Rotor nacelle costs (Development and Project Management) | 1000000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Rotor nacelle costs (Procurement) | 2000000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Rotor nacelle costs (Installation and Commissioning) | 1500000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Tower costs (Development and Project Management) | 3000000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Tower costs (Procurement) | 4000000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Tower costs (Installation and Commissioning) | 3500000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Transition piece costs (Development and Project Management) | 5000000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Transition piece costs (Procurement) | 8000000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Transition piece costs (Installation and Commissioning) | 6500000 | USD per unit
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Construction duration | 3 | years
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Share of Investments in Year 1 | 40% | % of total
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Share of Investments in Year 2 | 30% | % of total
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Share of Investments in Year 3 | 30% | % of total
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Economic Lifetime | 50 | years
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Depreciation Flag | 1 | flag
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Yearly Variable Costs Flag | 1 | flag
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Yearly Variable Costs Rate | 3% | % of investment value
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Insurance Flag | 1 | flag
Capex | Wind energy source & Transport | Offshore wind park | Turbines | Insurance Rate | 0.5% | % of investment value
Abex | Wind energy source & Transport | Offshore wind park | Turbines | Turbines decommissioning | 2% | % of Capex total
Residual value | Wind energy source & Transport | Offshore wind park | Turbines | Turbines residual value | 1% | % of Capex total
Capex | Wind energy source & Transport | Transport from wind park | Inter-array cables | Cable costs (Development and Project Management) | 5000000 | USD per km cable length
Capex | Wind energy source & Transport | Transport from wind park | Inter-array cables | Cable costs (Procurement) | 5000000 | USD per km cable length
Capex | Wind energy source & Transport | Transport from wind park | Inter-array cables | Cable costs (Installation and Commissioning) | 5000000 | USD per km cable length
Capex | Wind energy source & Transport | Transport from wind park | Inter-array cables | Construction duration | 3 | years
Capex | Wind energy source & Transport | Transport from wind park | Inter-array cables | Share of Investments in Year 1 | 0% | % of total
Capex | Wind energy source & Transport | Transport from wind park | Inter-array cables | Share of Investments in Year 2 | 40% | % of total
Capex | Wind energy source & Transport | Transport from wind park | Inter-array cables | Share of Investments in Year 3 | 60% | % of total
Capex | Wind energy source & Transport | Transport from wind park | Inter-array cables | Economic Lifetime | 50 | years
Capex | Wind energy source & Transport | Transport from wind park | Inter-array cables | Depreciation Flag | 1 | flag
Capex | Wind energy source & Transport | Transport from wind park | Inter-array cables | Yearly Variable Costs Flag | 1 | flag
Capex | Wind energy source & Transport | Transport from wind park | Inter-array cables | Yearly Variable Costs Rate | 2% | % of investment value
Capex | Wind energy source & Transport | Transport from wind park | Inter-array cables | Insurance Flag | 1 | flag
Capex | Wind energy source & Transport | Transport from wind park | Inter-array cables | Insurance Rate | 0.5% | % of investment value
Abex | Wind energy source & Transport | Transport from wind park | Inter-array cables | Inter-array cables decommissioning | 2% | % of Capex total
Residual value | Wind energy source & Transport | Transport from wind park | Inter-array cables | Inter-array cables residual value | 1% | % of Capex total
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | AC Substation costs (Development and Project Management) | 2000000 | USD per unit
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Transformer costs (Procurement) | 2000000 | USD per unit capacity
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Reactive compensation cost (Procurement) | 3000000 | USD per km cable length
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Shunt reactor costs (Procurement) | 3000000 | USD per km cable length
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Breaker and switchgear costs (Procurement) | 4000000 | USD per transformer
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Facility costs (Procurement) | 3500000 | USD per facility
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Platform steel costs (Procurement) | 5000000 | USD per tonnes or m2
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | AC Substation costs (Installation and Commissioning) | 8000000 | USD per unit
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Construction duration | 3 | years
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Share of Investments in Year 1 | 0% | % of total
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Share of Investments in Year 2 | 40% | % of total
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Share of Investments in Year 3 | 60% | % of total
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Economic Lifetime | 50 | years
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Depreciation Flag | 1 | flag
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Yearly Variable Costs Flag | 1 | flag
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Yearly Variable Costs Rate | 2% | % of investment value
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Insurance Flag | 1 | flag
Capex | AC Substation & Transport | AC Substation & Transport | AC Substation | Insurance Rate | 0.5% | % of investment value
Abex | AC Substation & Transport | AC Substation & Transport | AC Substation | AC Substation decommissioning | 2% | % of Capex total
Residual value | AC Substation & Transport | AC Substation & Transport | AC Substation | AC Substation residual value | 1% | % of Capex total
Capex | AC Substation & Transport | AC Substation & Transport | AC collection cable | AC collection cable costs (Development and Project Management) | 3000000 | USD per km cable length
Capex | AC Substation & Transport | AC Substation & Transport | AC collection cable | AC collection cable costs (Procurement) | 4000000 | USD per km cable length
Capex | AC Substation & Transport | AC Substation & Transport | AC collection cable | AC collection cable costs (Installation and Commissioning) | 3500000 | USD per km cable length
Capex | AC Substation & Transport | AC Substation & Transport | AC collection cable | Construction duration | 3 | years
Capex | AC Substation & Transport | AC Substation & Transport | AC collection cable | Share of Investments in Year 1 | 0% | % of total
Capex | AC Substation & Transport | AC Substation & Transport | AC collection cable | Share of Investments in Year 2 | 40% | % of total
Capex | AC Substation & Transport | AC Substation & Transport | AC collection cable | Share of Investments in Year 3 | 60% | % of total
Capex | AC Substation & Transport | AC Substation & Transport | AC collection cable | Economic Lifetime | 50 | years
Capex | AC Substation & Transport | AC Substation & Transport | AC collection cable | Depreciation Flag | 1 | flag
Capex | AC Substation & Transport | AC Substation & Transport | AC collection cable | Yearly Variable Costs Flag | 1 | flag
Capex | AC Substation & Transport | AC Substation & Transport | AC collection cable | Yearly Variable Costs Rate | 2% | % of investment value
Capex | AC Substation & Transport | AC Substation & Transport | AC collection cable | Insurance Flag | 1 | flag
Capex | AC Substation & Transport | AC Substation & Transport | AC collection cable | Insurance Rate | 0.5% | % of investment value
Abex | AC Substation & Transport | AC Substation & Transport | AC collection cable | AC collection cable decommissioning | 2% | % of Capex total
Residual value | AC Substation & Transport | AC Substation & Transport | AC collection cable | AC collection cable residual value | 1% | % of Capex total
Capex | Converter & Transport | Converter | HVDC Converter | HVDC Converter costs costs (Development and Project Management) | 3000000 | USD per unit
Capex | Converter & Transport | Converter | HVDC Converter | Offshore HVDC substation electrical equipment costs (Procurement) | 6000000 | USD per unit
Capex | Converter & Transport | Converter | HVDC Converter | Cumulative converter terminal costs (Procurement) | 3000000 | USD per unit
Capex | Converter & Transport | Converter | HVDC Converter | Cumulative converter terminal costs (Installation and Commissioning) | 3000000 | USD per unit
Capex | Converter & Transport | Converter | HVDC Converter | Construction duration | 3 | years
Capex | Converter & Transport | Converter | HVDC Converter | Share of Investments in Year 1 | 0% | % of total
Capex | Converter & Transport | Converter | HVDC Converter | Share of Investments in Year 2 | 40% | % of total
Capex | Converter & Transport | Converter | HVDC Converter | Share of Investments in Year 3 | 60% | % of total
Capex | Converter & Transport | Converter | HVDC Converter | Economic Lifetime | 50 | years
Capex | Converter & Transport | Converter | HVDC Converter | Depreciation Flag | 1 | flag
Capex | Converter & Transport | Converter | HVDC Converter | Yearly Variable Costs Flag | 1 | flag
Capex | Converter & Transport | Converter | HVDC Converter | Yearly Variable Costs Rate | 2% | % of investment value
Capex | Converter & Transport | Converter | HVDC Converter | Insurance Flag | 1 | flag
Capex | Converter & Transport | Converter | HVDC Converter | Insurance Rate | 0.5% | % of investment value
Abex | Converter & Transport | Converter | HVDC Converter | HVDC Converter decommissioning | 2% | % of Capex total
Residual value | Converter & Transport | Converter | HVDC Converter | HVDC Converter residual value | 1% | % of Capex total
Capex | Converter & Transport | Converter | HVDC Cable | HVDC Cable costs (Development and Project Management) | 1300000 | USD per km cable length
Capex | Converter & Transport | Converter | HVDC Cable | HVDC Cable costs (Procurement) | 2500000 | USD per km cable length
Capex | Converter & Transport | Converter | HVDC Cable | HVDC Cable costs (Installation and Commissioning) | 3500000 | USD per km cable length
Capex | Converter & Transport | Converter | HVDC Cable | Construction duration | 3 | years
Capex | Converter & Transport | Converter | HVDC Cable | Share of Investments in Year 1 | 0% | % of total
Capex | Converter & Transport | Converter | HVDC Cable | Share of Investments in Year 2 | 40% | % of total
Capex | Converter & Transport | Converter | HVDC Cable | Share of Investments in Year 3 | 60% | % of total
Capex | Converter & Transport | Converter | HVDC Cable | Economic Lifetime | 50 | years
Capex | Converter & Transport | Converter | HVDC Cable | Depreciation Flag | 1 | flag
Capex | Converter & Transport | Converter | HVDC Cable | Yearly Variable Costs Flag | 1 | flag
Capex | Converter & Transport | Converter | HVDC Cable | Yearly Variable Costs Rate | 2% | % of investment value
Capex | Converter & Transport | Converter | HVDC Cable | Insurance Flag | 1 | flag
Capex | Converter & Transport | Converter | HVDC Cable | Insurance Rate | 0.5% | % of investment value
Abex | Converter & Transport | Converter | HVDC Cable | HVDC Cable decommissioning | 2% | % of Capex total
Residual value | Converter & Transport | Converter | HVDC Cable | HVDC Cable residual value | 1% | % of Capex total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Electrolyser costs (Development and Project Management) | 60000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Electrolyser costs (Procurement) | 80000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Electrolyser costs (Installation and Commissioning) | 65000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Construction duration | 3 | years
Capex | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Share of Investments in Year 1 | 0% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Share of Investments in Year 2 | 40% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Share of Investments in Year 3 | 60% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Economic Lifetime | 50 | years
Capex | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Depreciation Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Yearly Variable Costs Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Yearly Variable Costs Rate | 2% | % of investment value
Capex | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Insurance Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Insurance Rate | 0.5% | % of investment value
Abex | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Electrolyser decommissioning | 2% | % of Capex total
Residual value | Electrolysis, Electricity & Transport | Electrolysis | Electrolyser | Electrolyser residual value | 1% | % of Capex total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Desalination unit costs (Development and Project Management) | 10000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Desalination unit costs (Procurement) | 15000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Desalination unit costs (Installation and Commissioning) | 12000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Construction duration | 3 | years
Capex | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Share of Investments in Year 1 | 0% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Share of Investments in Year 2 | 40% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Share of Investments in Year 3 | 60% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Economic Lifetime | 50 | years
Capex | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Depreciation Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Yearly Variable Costs Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Yearly Variable Costs Rate | 2% | % of investment value
Capex | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Insurance Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Insurance Rate | 0.5% | % of investment value
Abex | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Desalination unit decommissioning | 2% | % of Capex total
Residual value | Electrolysis, Electricity & Transport | Electrolysis | Desalination unit | Desalination unit residual value | 1% | % of Capex total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Compressor unit costs (Development and Project Management) | 5000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Compressor unit costs (Procurement) | 8000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Compressor unit costs (Installation and Commissioning) | 6000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Construction duration | 3 | years
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Share of Investments in Year 1 | 0% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Share of Investments in Year 2 | 40% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Share of Investments in Year 3 | 60% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Economic Lifetime | 50 | years
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Depreciation Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Yearly Variable Costs Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Yearly Variable Costs Rate | 2% | % of investment value
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Insurance Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Insurance Rate | 0.5% | % of investment value
Abex | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Compressor unit decommissioning | 2% | % of Capex total
Residual value | Electrolysis, Electricity & Transport | Electrolysis | Compressor unit | Compressor unit residual value | 1% | % of Capex total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Storage unit costs (Development and Project Management) | 2000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Storage unit costs (Procurement) | 4000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Storage unit costs (Installation and Commissioning) | 3000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Construction duration | 3 | years
Capex | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Share of Investments in Year 1 | 0% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Share of Investments in Year 2 | 40% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Share of Investments in Year 3 | 60% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Economic Lifetime | 50 | years
Capex | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Depreciation Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Yearly Variable Costs Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Yearly Variable Costs Rate | 2% | % of investment value
Capex | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Insurance Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Insurance Rate | 0.5% | % of investment value
Abex | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Storage unit decommissioning | 2% | % of Capex total
Residual value | Electrolysis, Electricity & Transport | Electrolysis | Storage unit | Storage unit residual value | 1% | % of Capex total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Compressor after storage costs (Development and Project Management) | 3500000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Compressor after storage costs (Procurement) | 5500000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Compressor after storage costs (Installation and Commissioning) | 4500000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Construction duration | 3 | years
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Share of Investments in Year 1 | 0% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Share of Investments in Year 2 | 40% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Share of Investments in Year 3 | 60% | % of total
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Economic Lifetime | 50 | years
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Depreciation Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Yearly Variable Costs Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Yearly Variable Costs Rate | 2% | % of investment value
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Insurance Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Insurance Rate | 0.5% | % of investment value
Abex | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Compressor after storage decommissioning | 2% | % of Capex total
Residual value | Electrolysis, Electricity & Transport | Electrolysis | Compressor after storage | Compressor after storage residual value | 1% | % of Capex total
Capex | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | DCAC Converter costs (Development and Project Management) | 1000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | DCAC Converter costs (Procurement) | 3000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | DCAC Converter (Installation and Commissioning) | 2000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | Construction duration | 3 | years
Capex | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | Share of Investments in Year 1 | 0% | % of total
Capex | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | Share of Investments in Year 2 | 40% | % of total
Capex | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | Share of Investments in Year 3 | 60% | % of total
Capex | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | Economic Lifetime | 50 | years
Capex | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | Depreciation Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | Yearly Variable Costs Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | Yearly Variable Costs Rate | 2% | % of investment value
Capex | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | Insurance Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | Insurance Rate | 0.5% | % of investment value
Abex | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | DCAC Converter decommissioning | 2% | % of Capex total
Residual value | Electrolysis, Electricity & Transport | Electricity | DCAC Converter | DCAC Converter residual value | 1% | % of Capex total
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Artificial island costs (Development and Project Management) | 35000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Total land reclamation costs (Procurement) | 80000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Total shoreline protection costs (Procurement) | 40000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Cable laying facility costs (Procurement) | 10000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Total breakwater costs (Procurement) | 50000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Total material costs (Procurement) | 40000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Total harbor costs (Procurement) | 80000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Total construction costs (Procurement) | 65000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Artificial island costs (Installation and Commissioning) | 50000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Construction duration | 3 | years
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Share of Investments in Year 1 | 0% | % of total
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Share of Investments in Year 2 | 40% | % of total
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Share of Investments in Year 3 | 60% | % of total
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Economic Lifetime | 50 | years
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Depreciation Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Yearly Variable Costs Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Yearly Variable Costs Rate | 2% | % of investment value
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Insurance Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Insurance Rate | 0.5% | % of investment value
Abex | Electrolysis, Electricity & Transport | Facility location | Artificial island | Artificial island decommissioning | 2% | % of Capex total
Residual value | Electrolysis, Electricity & Transport | Facility location | Artificial island | Artificial island residual value | 1% | % of Capex total
Capex | Electrolysis, Electricity & Transport | Facility location | Mainland | Mainland costs (Development and Project Management) | 4000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Facility location | Mainland | Mainland costs (Procurement) | 6000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Facility location | Mainland | Mainland costs (Installation and Commissioning) | 5000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Facility location | Mainland | Construction duration | 3 | years
Capex | Electrolysis, Electricity & Transport | Facility location | Mainland | Share of Investments in Year 1 | 0% | % of total
Capex | Electrolysis, Electricity & Transport | Facility location | Mainland | Share of Investments in Year 2 | 40% | % of total
Capex | Electrolysis, Electricity & Transport | Facility location | Mainland | Share of Investments in Year 3 | 60% | % of total
Capex | Electrolysis, Electricity & Transport | Facility location | Mainland | Economic Lifetime | 50 | years
Capex | Electrolysis, Electricity & Transport | Facility location | Mainland | Depreciation Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Facility location | Mainland | Yearly Variable Costs Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Facility location | Mainland | Yearly Variable Costs Rate | 2% | % of investment value
Capex | Electrolysis, Electricity & Transport | Facility location | Mainland | Insurance Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Facility location | Mainland | Insurance Rate | 0.5% | % of investment value
Abex | Electrolysis, Electricity & Transport | Facility location | Mainland | Facility location decommissioning | 2% | % of Capex total
Residual value | Electrolysis, Electricity & Transport | Facility location | Mainland | Facility location residual value | 1% | % of Capex total
Capex | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | H2 pipeline costs (Development and Project Management) | 60000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | H2 pipeline costs (Procurement) | 75000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | H2 pipeline costs (Installation and Commissioning) | 65000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | Construction duration | 3 | years
Capex | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | Share of Investments in Year 1 | 0% | % of total
Capex | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | Share of Investments in Year 2 | 40% | % of total
Capex | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | Share of Investments in Year 3 | 60% | % of total
Capex | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | Economic Lifetime | 50 | years
Capex | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | Depreciation Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | Yearly Variable Costs Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | Yearly Variable Costs Rate | 2% | % of investment value
Capex | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | Insurance Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | Insurance Rate | 0.5% | % of investment value
Abex | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | Facility location decommissioning | 2% | % of Capex total
Residual value | Electrolysis, Electricity & Transport | Transport | H2 Pipeline | Facility location residual value | 1% | % of Capex total
Capex | Electrolysis, Electricity & Transport | Transport | Electricity cable | Electricity cable (Development and Project Management) | 20000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Transport | Electricity cable | Electricity cable (Procurement) | 30000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Transport | Electricity cable | Electricity cable (Installation and Commissioning) | 25000000 | USD per unit
Capex | Electrolysis, Electricity & Transport | Transport | Electricity cable | Construction duration | 3 | years
Capex | Electrolysis, Electricity & Transport | Transport | Electricity cable | Share of Investments in Year 1 | 0% | % of total
Capex | Electrolysis, Electricity & Transport | Transport | Electricity cable | Share of Investments in Year 2 | 40% | % of total
Capex | Electrolysis, Electricity & Transport | Transport | Electricity cable | Share of Investments in Year 3 | 60% | % of total
Capex | Electrolysis, Electricity & Transport | Transport | Electricity cable | Economic Lifetime | 50 | years
Capex | Electrolysis, Electricity & Transport | Transport | Electricity cable | Depreciation Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Transport | Electricity cable | Yearly Variable Costs Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Transport | Electricity cable | Yearly Variable Costs Rate | 2% | % of investment value
Capex | Electrolysis, Electricity & Transport | Transport | Electricity cable | Insurance Flag | 1 | flag
Capex | Electrolysis, Electricity & Transport | Transport | Electricity cable | Insurance Rate | 0.5% | % of investment value
Abex | Electrolysis, Electricity & Transport | Transport | Electricity cable | Facility location decommissioning | 2% | % of Capex total
Residual value | Electrolysis, Electricity & Transport | Transport | Electricity cable | Facility location residual value | 1% | % of Capex total